## Slide 1: 2021 Significant Changes International Property Maintenance code

## Slide 2: Formatting
Normal Italic – No change to the code section
Bold Italic – Add to the code section
Strikethrough Italic – Delete from the code section

## Slide 3: Section 101.3 Purpose
Section modified
The purpose of this code is to establish minimum requirements to provide a reasonable level of heath, safety, property protection and general welfare insofar as they are affected by the continued occupancy and maintenance of structures and premises. Existing structures and premises that do not comply with these provisions shall be altered or repaired to provide a reasonable minimum level of heath, safety and general welfare as required herein.

## Slide 4: Section 102.6 Structural analysis
Section added
Where structure analysis is used to determine if an unsafe structural condition exist, the analysis shall be permitted to use nominal strengths, nominal loads, load effects, required strengths and limit states in accordance with the requirements under which the structure was constructed or in accordance with any subsequent requirement.
Sections 102.7 through 102.11 renumbered

## Slide 5: Section 103.1 Creation of agency
Section name modified and text modified
The department of property maintenance inspection [INSERT NAME OF DEPARTMENT] is hereby created and the executive official in charge thereof shall be known as the code official. The function of the agency shall be the implementation, administration and enforcement of the provisions of this code.

## Slide 6: Section 103.3 Deputies
Section text modified
In accordance with the prescribed procedures of this jurisdiction and with the concurrence of the appointing authority, the code official shall have the authority to appoint a deputy(s) code official, other related technical officers, inspectors and other employees. Such employees shall have powers as delegated by the code official.

## Slide 7: Section 104 Fees
Section moved from 103.5, text modified
104.1 Fees.
The fees for activities and services performed by the department in carrying out its responsibilities under this code shall be as established by the applicable governing authority.
104.2 Refunds.
The code official is authorized to establish a refund policy.
This section is currently amended in city ordinances.

## Slide 8: Sections 104 and 105
Section 104 Duties and Powers of the Code Official renumbered to Section 105
Section 105 Approval renumbered to Section 106
No text changes

## Slide 9: Section 107 Means of Appeal
Section moved from Section 111 to Section 107 and text modified
Section 111.1 Application for appeal – section renumbered to 107.1 and 107.2, text modified and split into 2 sections.
107.1 General.
In order to hear and decide appeals of orders, decisions or determinations made by the code official relative to the application and interpretation of this code, there shall be and is hereby created a board of appeals. The board of appeals shall be appointed by the applicable governing authority and shall hold office at its pleasure. The board shall adopt rules of procedures for conducting its business and shall render all decisions and findings in writing to the appellant with a duplicate copy to the code official.
This section is currently amended in city ordinances.

## Slide 10: Section 107 Means of Appeal, continued
Section moved from Section 111 to Section 107 and text modified
Section 111.1 Application for appeal – section renumbered to 107.1 and 107.2, text modified and split into 2 sections.
107.2 Limitations of authority.
An application for appeal shall be based on a claim that the true intent of this code or the rules legally adopted thereunder have been incorrectly interpreted, the provisions of this code do not fully apply or an equivalent or better form of construction is proposed. The board shall not have authority to waive requirements of this code or interpret the administration of this code.
This section is currently amended in city ordinances.

## Slide 11: Section 107 Means of Appeal, continued
New section added.
107.3 Qualifications
The board of appeals shall consist of members who are qualified by experience and training and are not employees of the jurisdiction.
Section 111.2 Membership of board was moved to new Section 108 Board of Appeals. Subsections of 111.2 were removed. These sections are currently amended in city ordinances.
Section 111.3 Notice of meeting has been removed. This section is currently amended in city ordinances.
Section 111.4 Open hearing and all subsections have been removed. This section is currently amended in city ordinances.
Section 111.5 Postponed hearing has been removed. This section is currently amended in city ordinances.

## Slide 12: Section 107 Means of Appeal, continued
Section moved from Section 111 to Section 107 and text modified
Sections 111.6 Board decision (currently amended in city ordinances) and 111.6.1 Records and copies have been removed.
Section 111.6.2 Administration - section renumbered to 107.4
107.4 Administration
The code official shall take immediate action in accordance with the decision of the board.
Section 111.7 Court review has been removed.
Section 111.8 Stays of enforcement has been removed.

## Slide 13: Section 108 Board of Appeals
Section added, moved from Section 111.2 Membership of board.
108 Board of Appeals
The board of appeals shall consist of not less than three members who are qualified by experience and training to pass on matters pertaining to property maintenance and who are not employees of the jurisdiction. The code official shall be an ex-officio member but shall not vote on any matter before the board. The board shall be appointed by the chief appointing authority, and shall serve staggered and overlapping terms.
This section is currently amended in city ordinances.

## Slide 14: Sections 109 Violations
Section 106 Violations renumbered to Section 109, no other changes made
No text changes

## Slide 15: Section 110 Stop Work Order
Section 110 was renumbered from Section 112, text modified
110.1 Authority
When whenever the code official finds any work regulated by this code being performed in a manner contrary to the provisions of this code or in a dangerous or unsafe manner, the code official is authorized to issue a stop work order.
110.2 Issuance
The a stop work order shall be in writing and shall be given to the owner of the property, to the owner’s authorized agent, or to the person performing doing the work. Upon issuance of a stop work order, the cited work shall immediately cease. The stop work order shall state the reason for the order and the conditions under which the cited work is authorized to resume.

## Slide 16: Section 110 Stop Work Order, continued
Section modified moved and renumbered from Section 112, text modified
110.3 Emergencies
Where an emergency exists, the code official shall not be required to give a written notice prior to stopping the work.
110.4 Failure to comply
Any person who shall continue any work after having been served with a stop work order, except such work as that person is directed to perform to remove a violation or unsafe condition, shall be subject to fines established by the authority having jurisdiction.

## Slide 17: Section 111 Unsafe Structures and Equipment
Section 111 moved and renumbered from Section 108, text modified
Section 111.3 Record - renumbered from 108.7, no change in text
Section 111.4 Notice - renumbered from 107.1, text modified
111.4 Notice
Whenever the code official determines that there has been a violation of this code or has grounds to believe that a violation has occurred, notice shall be given in the manner prescribed in Sections 111.4.1 and 111.4.2 to the owner or the owner’s authorized agent, for the violation as specified in this code. Notices for condemnation procedures shall comply with this section.

## Slide 18: Section 111 Unsafe Structures and Equipment, continued
Section 111.4.1 Form - moved renumbered from 107.2, no change in text
Section 111.4.2 Method of service - moved and renumbered from section 107.3, text modified
111.4.2 Method of Service
Such notice shall be deemed to be properly served where a copy thereof is served in accordance with one of the following methods:
1. A copy is delivered personally.
2. A copy is sent by certified or registered mail addressed to the owner at the last known address with the return receipt requested.
3. A copy is delivered in any other manner as prescribed by local law.
If the certified or registered letter is returned showing that the letter was not delivered, a copy thereof shall be posted in a conspicuous place in or about the structure affected by such notice. Service of such notice in the foregoing manner upon the owner’s agent or upon the person responsible for the structure shall constitute service of notice upon the owner.

## Slide 19: Section 111 Unsafe Structures and Equipment, continued
Section 111.5 Unauthorized tampering moved and renumbered from section 107.4, no text changes
Section 111.6 Transfer of ownership moved and renumbered from section 107.6, no text changes
Section 111.7 Placarding - moved and renumbered from section 108.4, text modified
111.7 Placarding
Upon failure of the owner, owner’s authorized agent or person responsible to comply with the notice provisions within the time given, the code official shall post on the premise or on defective equipment bearing the word “Condemned” and a statement of the penalties provide for occupying the premise, operating the equipment or removing the placard. Such notice shall be posted in a conspicuous place in or about the structure affected by such notice. If the notice pertains to equipment, it shall be placed on the equipment.

## Slide 20: Section 111 Unsafe Structures and Equipment, continued
Section 111.7.1 Placard removal moved and renumbered from section 107.4.1, no text change
Section 111.8 Prohibited occupancy moved and renumbered from section 108.5, no text change
Section 111.9 Restoration or abatement renamed, moved and renumbered from section 108.6, text modified
  111.9 Restoration or abatement
  The structure or equipment determined to be unsafe by the code official is permitted to be restored to a safe condition. The owner, owner’s authorized agent, operator or occupant of the structure, premise or equipment deemed unsafe by the code official shall abate or cause to be abated or corrected such unsafe conditions either by repair, rehabilitation, demolition or other approved corrective action. To the extent that repairs, alterations, or additions are made or a change of occupancy occurs during the restoration of the structure, such repairs, alterations, additions, or change of occupancy shall comply with the requirements of the International Existing Building Code.

## Slide 21: Section 112 Emergency Measures
Section 112 Emergency Measures renumbered from section 109
No text changes
Section 112.1 Imminent danger - currently amended in city ordinances.

## Slide 22: Section 113 Demolition
Section 113 Demolition renumbered from section 110
No text changes

## Slide 23: Chapter 2 Definitions
Section 201.3 Terms defined in other codes, exception added
Section 201.3 Terms defined in other codes
Where terms are not defined in this code and are defined in the International Building Code, International Existing Building Code, International Fire Code, International Fuel Gas Code, International Mechanical Code, International Plumbing Code, International Residential Code, International Zoning Code, or NFPA 70, such terms shall have the meanings ascribed to them as stated in those codes.
Exception: When used within this code, the terms unsafe and dangerous shall have only the meanings ascribed to them in this code and shall not have the meanings ascribed to them by the International Existing Building Code.

## Slide 24: Chapter 2 Definitions
Definition added:
Emergency escape and rescue opening: An operable exterior window, door, or other similar device that provides for a means of escape and access for rescue in the event of an emergency.

## Slide 25: Section 602 Heating Facilities
Section 602.2 Residential Occupancies, text modified.
602.2 Residential Occupancies
Dwellings shall be provided with heating facilities capable of maintaining a room temperature of 68ºF (20ºC) in all habitable rooms, bathrooms and toilet rooms based on the winter outdoor design temperature for the locality indicated in Appendix D of the International Plumbing Code. Cooking appliances shall not be used, nor shall portable unvented fuel-burning space heaters be used, as a means to provide required heating. The installation of one or more portable space heaters shall not be used to achieve compliance with this section.
Exception: In areas where the average monthly temperature is above 30ºF (-1ºC), a minimum temperature of 65ºF (18ºC) shall be maintained.

## Slide 26: Section 702.4 Emergency escape and rescue openings
Section 702.4 Emergency escape and rescue openings, text modified
702.4 Emergency escape and rescue openings
Required emergency escape and rescue openings shall be maintained in accordance with the code in effect at the time of construction, and both of the following:
1. Required emergency escape and rescue openings shall be operational from the inside of the room without the use of keys or tools.
2. Bars, grilles, grates or similar devices are permitted to be placed over emergency escape and rescue openings provided that the minimum net clear opening size complies with the code that was in effect at the time of construction and the unit is equipped with smoke alarms installed in accordance with Section 907.2.10 of the International Building Code. Such devices shall be releasable or removable from the inside without the use of a key, tool or force greater than that which is required for normal operation of the escape and rescue opening.
Amended in 2018 code

## Slide 27: Section 704 Fire Protection Systems
Section 704.1, text modified
704.1 Inspection, testing and maintenance
Fire protection and life safety systems shall be maintained in accordance with the International Fire Code in an operative condition at all times, and shall be replaced or repaired where defective.
Section 704.1.1 Installation removed and replaced with:
704.1.1 Fire protection and life safety systems
Fire protection and life safety systems shall be installed, repaired, operated and maintained in accordance with this code, the International Fire Code and the International Building Code.

## Slide 28: Section 704 Fire Protection Systems, continued
Section 704.1.2, text modified
704.1 Required fire protection and life safety systems
Fire protection and life safety systems required by this code, the International Fire Code or the International Building Code shall be installed, repaired, operated, tested and maintained in accordance with this code. A fire protection and life safety system for which a design option, exception or reduction to the provisions of this code, the International Fire Code or the International Building code has been granted shall be considered to be a required system.

## Slide 29: Section 704 Fire Protection Systems, continued
Section 704.3, exception added
704.3 System out of service
Where a required fire protection system is out of service, the fire department and the fire code official shall be notified immediately and, where required by the fire code official, either the building shall be evacuated or an approved fire watch shall be provided for all occupants left unprotected by the shutdown until the fire protection system has been returned to service. Where utilized, fire watches shall be provided with not less than one approved means for notification of the fire department and shall not have duties beyond performing constant patrols of the protected premise and keeping watch for fires. Actions shall be taken in accordance with Section 901 of the International Fire Code to bring the system back in service.
Exception: Facilities with an approved notification and impairment management program. The notification and impairment program for water-based fire protection systems shall comply with NFPA 25.

## Slide 30: Section 704 Fire Protection Systems, continued
Section 704.4, text modified
704.4 Removal of or tampering with equipment
It shall be unlawful for any person to remove, tamper with or otherwise disturb any fire protection or life safety system required by this code except for the purposes of extinguishing fire, training, recharging or making necessary repairs.

## Slide 31: Appendix B Means of Appeal
Appendix B Means of Appeal added
About this appendix: Appendix B provides criteria for Board of Appeals members. Also provided are procedures by which the Board of Appeals should conduct its business.