## Gen Info
Drainage Submittal General Information
Applicant Name:
|  | Property Owner | Builder |  |  | Consultant |  |  | Other:
| Email: | [8 empty] | Phone:
Submitted By:
| Email: | [8 empty] | Phone:
Project Name:
Project General Location or Address:
Zoning District:
Development Type:
|  | New development |  | Redevelopment |  |  |  |  | Impervious site improvement
Project Type:
Planning (Development Plan, Plat/Replat, PUD Amendment, Annexation, Rezoning, etc.)
Commercial Building Permit (multi-family dwellings and all other use types)
|  | Additional Impervious ≤ 10,000 sq ft | [5 empty] | Additional Impervious >10,000 sq ft
| Project Area or Lot Size: |  |  |  | ac/sq ft |  | Existing Impervious Area: | [6 empty] | ac/sq ft
| Total Disturbance Area: |  |  |  | ac/sq ft |  | New Impervious Area: | [6 empty] | ac/sq ft
Previous Studies of Area
(Insert year, study name)
Known Stormwater Issues
(Describe stormwater issues)
*Impervious projects are defined as those that do not include vertical building construction and would be outside of the jurisdiction of a Building Permit, typically private paving (asphalt or concrete) or gravel surfacing projects.
City of MHK Engineering Response:
The Public Works Department has reviewed the proposed project and the following preliminary information is provided:
Watershed Location Map
A Watershed Location Map may be provided that identifies the project’s location within the greater watershed. This assists in determining the applicability of any watershed-specific criteria and/or if other stormwater analyses have identified improvements for the project location.
A Watershed Location Map |  |  | is | is not |  | provided. Watershed Location Maps include the following:
| ▪ | Greater Watershed boundary with area in acres labeled
| ▪ | Project site, labeled
| ▪ | Delineated drainage area to the project, with area in acres labeled, as necessary
| ▪ | Downstream destination(s) of runoff from project, labeled
| ▪ | Water bodies (lakes, rivers, streams, creeks, wetlands, etc.)
| ▪ | Existing stormwater detention location(s) affecting stormwater management at project site (if applicable)
Known Background Information
Previous Studies of Area
(Insert year, study name)
Known Stormwater Issues
(Describe stormwater issues)
Drainage Submittal Requirements
Simple Drainage Submittals
Plot Plan w/ Elevations
Drainage Impact Study
Hydrology
Collection
Conveyance
Energy Dissipation
Detention Facilities
Post-Construction BMPs
Grading Plan - Dev. Plan/Plat
Grading Plan - Building Project
Preliminary Permit Analysis
[11 empty] | Yes | No | Maybe
Flood Plain Fill Permit (KS Dept. of Agriculture Div. of Water Res.)
Flood Plain Fill Permit (Riley County)
Flood Plain Fill Permit (City of Manhattan)
Corps. of Engineers Nationwide
Corps. of Engineers General
Railroad Right-of-way
Kansas Department of Transportation Use of Right-of-Way
Riley County Use of Right-of-Way
City of Manhattan Use of Right-of-Way
NOI Permit
Other:

## Plot Plan w Elevs
Plot Plan w/ Elevations
Applicable projects, as determined by the Grading Plan analysis or otherwise by the City Engineer, shall follow the checklist in this worksheet when preparing the project’s plot plan w/ elevations. The City Engineer retains the right to require further study pending the information provided.
The following (additional) information shall be included on a Plot Plan w/Elevations:
Critical Elevations: These elevations shall be based on any established BFE survey datum.
Proposed Finish Floor Elevation (FFE)
Proposed elevation of finish floor is the typical main floor above-grade elevation.
Proposed Lowest Opening Elevation (LOE)
Proposed elevation of lowest opening, if different from the proposed finish floor.
Top of Curb Elevations
Top of curb elevations at each end of the street frontage along which the lot is located.
Flowline Elevations
Critical flowlines for drainage paths on the property.
Site Drainage:
100-Year Base Flood Elevation(s) (BFE)
Steps to check:
1) FEMA Special Flood Hazard Area boundaries
| § FEMA Flood Map Service Center (GIS): | https://msc.fema.gov/portal/search
| § FEMA Flood Map Service Center (FIRM Maps): | https://msc.fema.gov/portal/advanceSearch
| FEMA Firmette maps can be made at either of the web addresses above. Directions for creating a Firmette map are located here: | https://www.fema.gov/sites/default/files/documents/fema_how-find-your-firm-make-firmette.pdf
2) Community Special Flood Hazard Area boundaries
§ GIS data is available upon request
Location of storm sewer inlets and piping
Location(s) of existing storm sewer inlets and piping system within or adjacent to the lot or within right-of-way between the lot and the existing curb. This information may be obtained from the Riley County GIS website (https://gis.rileycountyks.gov/) or from field observations.
Location of channels and overflow pathways/swales
Location(s) of existing channels and overflow pathways/swales with the direction of discharge.
Location(s) of proposed channels and overflow pathways/swales with the direction of discharge.
Proposed drainage path cross sections at critical locations
Drainage path cross sections at critical locations shall have dimensions, design flow, 100-yr flood elevation, flowline elevation, top of bank elevation and minimum slope.
Location of building downspouts
Building downspout locations and direction of discharge
Drainage arrows
Drainage arrows showing the proposed path and direction of surface drainage leaving the lot
Benchmarks
Benchmark information as necessary for staking and checking grading
Licensed Professional Engineer, Landscape Architect or Surveyor Seal and Signature
Lot of Primary Concern - Certification of Compliance with approved Grading Plan

## Hydrology
Hydrology
Any project that includes public stormwater conveyance system improvements must provide existing and proposed hydrologic information. The applicant shall have a licensed professional complete this analysis per Section 5 of the City's Stormwater Design Criteria and provide supporting documentation to the City, including the fields and tables in this worksheet and prepare the supporting maps listed. It is acceptable for Technical Methods information and Hydrology Tables to be included on the respective Existing or Proposed Hydrology Maps when clarity is not compromised. Calculations performed for composite Runoff Curve Numbers shall be submitted.
Technical Methods
Hydrologic method
(Insert method - Hydrograph Method or Rational Method, with design storms).
Modeling software used
(Insert software)
Site Description
Existing
(Briefly discuss existing zoning, use, surface cover, slopes, and amount of impervious).
Proposed
(Briefly discuss proposed zoning, use, surface cover, slopes, and amount of impervious).
Existing Hydrology Table
ID | Drainage Area (ac) | Runoff Curve Number /Rational Coefficients | Time of Concentration (tc) | Intensity i10 (in./hr.) | Intensity i100 (in./hr.) | Peak Flow Q10 (cfs) | Peak Flow Q100 (cfs)
Existing Hydrology Map
The Existing Hydrology Map shall depict delineated watershed areas to each existing stormwater system collection point and include enough supporting information and labeling for a complete understanding of the project area.
The following shall be included on an Existing Hydrology Map:
Aerial imagery (optional)
Existing and/or Proposed Parcel Boundaries
Existing Easement Boundaries, as applicable
Utility information (GIS or field survey)
Water bodies (lakes, rivers, streams, creeks, wetlands, etc.)
Base Flood Elevation(s) (BFE)
§ FEMA Special Flood Hazard Area boundaries
§ Community Special Flood Hazard Area boundaries
Existing contours (1-ft intervals unless site conditions warrant otherwise)
Existing drainage paths, with direction arrows as applicable
Existing collection & conveyance system as applicable, with labels for size and type
Existing impervious surfaces as applicable, area (acres) and type labeled
Delineated Major Watershed Areas, IDs labeled
Delineated Minor Watershed Areas, IDs labeled
Soils HSG (Websoil Survey)
Proposed Hydrology Table
ID | Drainage Area (ac) | Runoff Curve Number /Rational Coefficients | Time of Concentration (tc) | Intensity i10 (in./hr.) | Intensity i100 (in./hr.) | Peak Flow Q10 (cfs) | Peak Flow Q100 (cfs)
Proposed Hydrology Map
The Proposed Hydrology Map shall depict delineated watershed areas to each proposed stormwater system collection point and include enough supporting information and labeling for a complete understanding of the proposed project.
The following shall be included on an Existing Hydrology Map:
Aerial imagery (optional)
Existing and/or Proposed Parcel Boundaries
Utility information (GIS or field survey)
Water bodies (lakes, rivers, streams, creeks, wetlands, etc.)
Base Flood Elevation(s) (BFE)
§ FEMA Special Flood Hazard Area boundaries
§ Community Special Flood Hazard Area boundaries
Proposed Site Layout, as applicable
Proposed Easement Boundaries, type and width labeled
Existing and Proposed contours (1-ft intervals unless site conditions warrant otherwise)
Proposed drainage paths, including overflow paths, with direction arrows
Proposed collection & conveyance system, to an extent sufficient for completeness of understanding, with labels for size and type
Proposed impervious surfaces, area (acres) and type labeled
Proposed location of detention facilities, if applicable
Proposed location of post-construction stormwater management BMPs, if applicable
Delineated Major Watershed Areas, IDs labeled
Delineated Minor Watershed Areas, IDs labeled
Soils HSG (Websoil Survey)

## Conveyance
Conveyance
Any project that includes public stormwater conveyance system improvements must provide existing and proposed hydraulic information. The applicant shall have a licensed professional complete this analysis per Section 6 of the City's Stormwater Design Criteria and provide supporting documentation to the City, including the fields and tables in this worksheet and prepare the supporting documents following the checklists in this worksheet.
Technical Methods
Hydraulic method (Hydrodynamic, Kinematic Wave, Steady Flow, etc.)
(Insert method(s) - Hydrodynamic, Kinematic Wave, Steady Flow, etc)
Modeling software used
(Insert software)
Existing System Conveyance Table
System | Reach ID | Upstream Invert (ft) | Downstream Invert (ft) | Length (ft) | Slope (ft/ft) | Size (in) | Material | Manning’s n | Full Capacity Qfull (cfs) | Q10 (cfs) | Q100 (cfs) | V10 (fps) | V100 (fps)
Proposed System Conveyance Table
System | Reach ID | Upstream Invert (ft) | Downstream Invert (ft) | Length (ft) | Slope (ft/ft) | Size (in) | Material | Manning’s n | Full Capacity Qfull (cfs) | Q10 (cfs) | Q100 (cfs) | V10 (fps) | V100 (fps)
Proposed System Conveyance Map
The Proposed System Conveyance Map shall depict the proposed drainage system. Sizes and design flow information for all elements of the proposed drainage system shall be labeled. Overflow pathways and drainage paths must be labeled. Locations with salient 100-year flows shall be labeled. The System Collection & Conveyance Tables shall be included on the map. The Proposed System Conveyance Map information may be combined with the Proposed Hydrology Map if clarity allows. Tailwater conditions, known or assumed, shall be labeled.

## Collection
Collection
Any project that includes public stormwater conveyance system improvements must provide existing and proposed collection system information. The applicant shall have a licensed professional complete this analysis per Section 7 of the City's Stormwater Design Criteria and provide supporting documentation to the City, including the tables in this worksheet. Other table formats may be approved by the City Engineer. It is acceptable for the Collection System Tables to be included on the respective Existing or Proposed System Conveyance Map when clarity is not compromised.
Existing Collection System Table
System | System Node | Curb or Area Inlet Description | Street Grade (%) | Q10 |  |  |  |  | Q100
|  |  |  | Qtotal (cfs) | CI Spread (ft) | AI Depth (ft) | Qcapture (cfs) | Qbypass (cfs) | Qtotal (cfs) | CI Spread (ft) | AI Depth (ft) | Qcapture (cfs) | Qbypass (cfs)
Proposed Collection System Table
System | System Node | Curb or Area Inlet Description | Street Grade (%) | Q10 |  |  |  |  | Q100
|  |  |  | Qtotal (cfs) | CI Spread (ft) | AI Depth (ft) | Qcapture (cfs) | Qbypass (cfs) | Qtotal (cfs) | CI Spread (ft) | AI Depth (ft) | Qcapture (cfs) | Qbypass (cfs)
Structure Water Surface Elevation Table
System | Structure ID | Structure Type |  | Invout (ft) | Direct Runoff to Structure (cfs) | Upstream Flow into Structure (cfs) | Cumulative flow out of Structure (cfs) | Starting WSEL (Tailwater) (ft) | 10-Yr. WSEL (E10) (ft) | Rim or Inlet Opening Elevation (ft) | Freeboard (ft) | Friction Control or Inlet Control?
Return Period
2-Yr.
5-Yr.
10-Yr.
25-Yr.
50-Yr.
100-Yr.
Note: Work from bottom of system to top of system.

## Energy Dis.
Energy Dissipation
Any project that includes public stormwater conveyance system improvements that discharge into a channel or other open conveyance system shall be evaluated for energy dissipation in accordance with Section 6.0 of the City's Stormwater Design Criteria and based on HEC-14 (Third Edition). Enter key assumptions, calculations, findings and decisions on this worksheet.
Receiving Channel Characteristics
Watershed Characteristics
Is the outlet at the channel headwaters?
If not, is the outlet watershed greater than 10% of the overall channel watershed at the junction location?
If it is greater than 10% of the overall watershed at the junction point, what is the approx. channel watershed area (acres) upstream from the outlet?
Basic Channel Geometry (at and immediately downstream of the outlet)
Describe general channel alignment (straight, curving, meanderings, etc.):
Representative Bottom Width (ft.): |  | Ave. Channel Bottom Slope (ft/ft): | Approx. Channel Depth (ft.):
Representative Bank Slopes (H:V) - | Left Side: | Right Side:
Basic Channel Condition (at and immediately downstream of the outlet)
Describe channel bottom material (silt, sand, cobbles, bedrock, etc):
Describe channel bank material:
Describe nature and quality of vegetated cover (none, grass, riparian, etc.):
Ave. Manning's "n" value: |  | Normal Flow Conditions (Perennial, ephemeral, intermittent, etc):
Estimated Existing Design Storm Flow (cfs): |  | Estimated Existing Design Storm Flow Velocity (fps):
Is there visual evidence of instability or degradation (Note: Serious instability issues may require a separate discussion w/ the City Engineer)?
Outlet Characteristics
Outlet Size, Shape & Description: |  | Outlet Flowline Elevation: | Estimated Outlet Discharge (cfs):
Outlet Pipe Slope (ft/ft): | Outlet Pipe Internal Normal Flow Depth (ft.): |  | Outlet Pipe Internal Normal Velocity (fps):
Outlet Pipe Critical Depth (ft.): |  | Tailwater Elevation (If unknown, assume 0.4 x Outlet opening height):
Calculated Brink Depth ("Yo" based on HEC 14): |  | Calculated Froude Number:
Energy Dissipator Selection (Based on HEC-14, Third Edition or City's Riprap Apron Guidance)
Selected Dissipator based on Chapter 6 and/or Table 1.1 in HEC-14
Summary description of proposed dissipator and any special considerations by location:

## Detention
Detention Facilities
Any project that includes detention facilities shall have a licensed professional complete this analysis per Section 8 of the City's Stormwater Design Criteria and provide supporting documentation to the City, including the tables in this worksheet.
Methodology
Discuss methods used per specific site conditions and use of the model.
(Insert description of existing conditions for upstream detention and/or pass-through flow along with chosen methodology for Comparable Hydrographs, the Shortcut Method or, when applicable, the Base Condition.)
Outlet Structure
Describe detention facility outlet structure and/or provide a construction detail.
(Insert description of Outlet Structure that fully describes the overall structure and also the control components - orifice, weir, etc. The control components must be fully described for type, size, length, geometry, elevations(s), and coefficients. Identify all individual components that are in series relative to other components. All modeled inputs must be described sufficient for verification of results.)
Reservoir Routing Inputs (Stage-Storage Table)
Stage (ft) | Elevation (ft) | Area (sf or acres) | Storage Volume (acre-ft)
0
Note: Storage Volume is cumulative as the stage increases in height.
Reservoir Routing Summary:
Lowest FL of Outlet Structure (ft):
Top of Spillway Elevation (ft):
Top of Dike Elevation (ft):
Design Event by ARI |  | Max Allowable Discharge (cfs) | Peak Inflow (cfs) | Peak Outflow (cfs) | Peak Elevation (ft) | Spillway Flow (cfs) | Max Storage Volume (acre-ft)
Water Quality Volume (WQv)
2-year
10-year
100-year
Results Summary
Condition | Inflow |  | Outflow
| Q10 (cfs) | Time of Peak | Q10 (cfs) | Time of Peak
Existing
Proposed
Detained
Note: Results Summary table shall be used per each discharge point from the site being analyzed.

## Post-Const. BMPs
Post-Construction Stormwater Best Management Practices (BMPs)
Any project that includes post-construction stormwater best management practices (BMPs), as required by Section 9 of the City's Stormwater Design Criteria, shall have a licensed professional complete the evaluation and design per the City of Manhattan’s Post-Construction Stormwater BMP Manual (and any amendments thereto). The evaluation and design of the BMPs along with water quality information shall be submitted as supporting documentation.
General Site Data
Size of Subject Property (ac.): |  | Existing Total Impervious Area (define ac. or sf): |  |  | Proposed Total Impervious Area (define ac. or sf):
Determination of BMP Requirement
Soil HSG Classification (WebSoil Survey): |  |  | Impervious/Pervious Ratio (proposed conditions): |  |  | Are BMPs required?
BMP Stormwater Quality Volume and Rate Calculations
Per Section 4 of the Post-Construction Stormwater BMP Manual:
Calculated "I": | Calculated "Rv": |  | "PWQ": | "AT" (ac.): |  | Calculated "WQV" (ac.ft.):
Calculated "C": | Calculated "TI" (minutes): |  | Calculated "TT" (minutes): | Calculated "TC" (minutes): |  | Value for "I" (in./hr.): | Calculated "Q" (cfs):
BMP Selection
Describe below the type(s) of BMPs selected for the project (if required) as well as any treatment train associated with ther BMPs. Submit separate sizing calculations and design details with DIS. Review prior to submitting an application for a building permit is strongly recommended.

## Grading-Subdivision
Grading Plan - Subdivision
The applicant shall develop a Grading Plan to be included in the Construction Drawings to verify that proposed site conditions mimic natural topography, maintain overflow pathways, provide appropriate buffer distances to protect stormwater management features and natural resources, and provide flood protection - both regulatory and locally between lots. Within the Construction Drawings, the Grading Plan for Planning Projects will mark Lots of Primary Concern (LPC) that require a higher level of attention during the Building Permit process.
The following shall be included on the Grading Plan:
General
Aerial imagery (optional)
Water bodies (lakes, rivers, streams, creeks, wetlands, etc.)
Base Flood Elevation(s) (BFE)
§ FEMA Special Flood Hazard Area boundaries
§ Community Special Flood Hazard Area boundaries
Existing contours (1-ft intervals unless site conditions warrant otherwise)
Existing drainage paths, including overflow paths, with direction arrows as applicable
Existing stormwater conveyance system as applicable
Existing impervious surfaces as applicable
Proposed Master Development Plan, Plat or Amended PUD
Proposed Parcel Boundaries
Proposed Easement Boundaries, type and width labeled
Proposed contours (1-ft intervals unless site conditions warrant otherwise)
Proposed drainage paths, including overflow paths, with direction arrows
Proposed drainage path cross sections at critical locations
Drainage path cross sections at critical locations shall have with dimensions, design flow, 100-yr flood elevation and minimum slope.
Proposed stormwater conveyance system, with labels on surface features for size, type and flowline
Proposed location of detention facilities, if applicable
Proposed location of stormwater quality facilities, if applicable
Proposed key spot elevations
Key spot elevations for Planning Projects include, but are not limited to: back of curb; street centerline; top and bottom of retaining walls; flowlines of pipes, channels and swales; berms, etc. Lots of Primary Concern (PC) shall have the top of curb elevations at extension of lot lines and at lot corners labeled. Drainage paths, including overflow paths, shall have 10-year and 100-year conveyance elevations labeled.
Proposed Finish Floor Elevation (FFE) for all buildable lots
Proposed elevation of finish floor is the typical main floor above-grade elevation.
Proposed Lowest Opening Elevation (LOE) for all buildable lots
Proposed elevation of lowest opening, if different from the proposed finish floor.
Proposed location of Lots of Primary Concern (PC)

## Grading-Building
Grading Plan - Commercial Building Permit
The applicant shall develop a Grading Plan to be included in the Construction Drawings to verify that proposed site conditions mimic natural topography, maintain overflow pathways, provide appropriate buffer distances to protect stormwater management features and natural resources, and provide flood protection - both regulatory and locally between lots.
The following shall be included on the Grading Plan:
General
Aerial imagery (optional)
Water bodies (lakes, rivers, streams, creeks, wetlands, etc.)
Base Flood Elevation(s) (BFE)
§ FEMA Special Flood Hazard Area boundaries
§ Community Special Flood Hazard Area boundaries
Existing contours (1-ft intervals unless site conditions warrant otherwise)
Existing drainage paths, including overflow paths, with direction arrows as applicable
Existing stormwater conveyance system as applicable
Existing impervious surfaces as applicable
Proposed Multi-Family, Commercial or Industrial Building Project
Proposed Parcel Boundaries
Proposed Easement Boundaries, type and width labeled
Proposed Site Layout
Proposed building downspout locations and direction of discharge
Proposed contours (1-ft intervals unless site conditions warrant otherwise)
Proposed drainage paths, including overflow paths, with direction arrows
Proposed drainage path cross sections at critical locations
Drainage path cross sections at critical locations shall have with dimensions, design flow, 100-yr flood elevation and minimum slope.
Proposed stormwater conveyance system, with labels on surface features for size, type and flowline
Proposed location of detention facilities, if applicable
Proposed location of stormwater quality facilities, if applicable
Proposed key spot elevations
Key spot elevations for Building Projects include, but are not limited to: back of curb; street centerline; top and bottom of retaining walls; flowlines of pipes, channels and swales; berms, etc. Top of curb elevations at the extension of lot lines and at lot corners shall be labeled. Drainage paths, including overflow paths, shall have 10-year and 100-year conveyance elevations labeled.
Proposed Finish Floor Elevation (FFE)
Proposed elevation of finish floor is the typical main floor above-grade elevation.
Proposed Lowest Opening Elevation (LOE)
Proposed elevation of lowest opening, if different from the proposed finish floor.
Lot of Primary Concern Label, if applicable